## SWIMLocal Data
|  |  |  | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Potable water scheme | Sewerage scheme | Sewerage scheme | Sewerage scheme | Sewerage scheme | Sewerage scheme | Sewerage scheme | WSP
Category | Code | Indicator | Units | Anakie Town Water | Bauhinia Downs Water | Blackwater Water | Bluff Water | Capella Water | Comet Water | Dingo Water | Duaringa Water | Emerald Water | Rolleston Water | Sapphire-Rubyvale Water | Springsure Water | Tieri Water | Blackwater Sewerage | Capella Sewerage | Emerald Sewerage | Rolleston Sewerage | Springsure Sewerage | Tieri Sewerage | Central Highlands RC Wide
Connections | CS1 | Population receiving water services | 000s | 0.1 | 0.025 | 4.882 | 0.267 | 0.964 | 0.147 | 0.145 | 0.195 | 14.29 | 0.255 | 1.156 | 0.857 | 1.031 | [6 empty] | 24.314
Connections | CS2 | Connected residential properties: water | 000s | 0.059 | 0.01 | 2.433 | 0.204 | 0.474 | 0.036 | 0.075 | 0.177 | 6.226 | 0.064 | 0.548 | 0.43 | 0.562 | [6 empty] | 11.298
Connections | CS3 | Connected non-residential properties: water | 000s | 0.007 | 0.005 | 0.24 | 0.038 | 0.113 | 0.012 | 0.018 | 0.038 | 0.814 | 0.034 | 0.041 | 0.109 | 0.074 | [6 empty] | 1.543
Connections | CS4 | Total connected properties: water | 000s | 0.066 | 0.015 | 2.673 | 0.242 | 0.587 | 0.048 | 0.093 | 0.215 | 7.04 | 0.098 | 0.589 | 0.539 | 0.636 | [6 empty] | 12.841
Connections | CS6 | Connected residential properties: sewerage | 000s | [13 empty] | 2.269 | 0.348 | 5.047 | 0.053 | 0.342 | 0.499 | 8.558
Connections | CS7 | Connected non-residential properties: sewerage | 000s | [13 empty] | 0.265 | 0.071 | 0.71 | 0.038 | 0.098 | 0.054 | 1.236
Connections | CS8 | Total connected properties: sewerage | 000s | [13 empty] | 2.534 | 0.419 | 5.757 | 0.091 | 0.44 | 0.553 | 9.794
Connections | CS64 | Total service connections: water | 000s | 0.064 | 0.015 | 2.502 | 0.216 | 0.548 | 0.047 | 0.087 | 0.194 | 6.557 | 0.086 | 0.577 | 0.513 | 0.595 | [6 empty] | 12.001
Connections | CS67 | Total connected properties: potable water only | 000s | 0.066 | 0.015 | 2.673 | 0.242 | 0.587 | 0.048 | 0.093 | 0.215 | 7.04 | 0.098 | 0.589 | 0.539 | 0.636 | [6 empty] | 12.841
Sources of Water | WA1 | Volume water sourced: surface water | ML | 0 | 0 | 0 | 0 | 328.7 | 63.3 | 59.17 | 0 | 0 | 47.1 | 0 | 0 | 0 | [6 empty] | 498.27
Sources of Water | WA2 | Volume water sourced: groundwater | ML | 26.79 | 14.829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.271 | 212.286 | 264.164 | 0 | [6 empty] | 522.34
Sources of Water | WA61 | Volume water sourced: desalination marine water | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Sources of Water | WA101 | Volume recycled sewage imported: external | ML | [19 empty] | NR
Sources of Water | WA158 | Volume potable+non-potable water imported: external | ML | 0 | 0 | 1578.972 | 0 | 0 | 0 | 0 | 225.721 | 4668.679 | 0 | 0 | 0 | 573.827 | [6 empty] | 7047.199
Sources of Water | WA158.1 | Names/volumes imported water suppliers | Text | [19 empty] | Sunwater - 6473 ML
Sources of Water | WA45 | Volume all water imported: external | ML | 0 | 0 | 1578.972 | 0 | 0 | 0 | 0 | 225.721 | 4668.679 | 0 | 0 | 0 | 573.827 | [6 empty] | 7047.199
Sources of Water | WA223 | Volume all water imported: internal and external | ML | 0 | 0 | 1578.972 | 156.9 | 11.3 | 0 | 0 | 225.721 | 4668.679 | 0 | 0 | 0 | 573.827 | [6 empty] | 7215.399
Sources of Water | WA7 | Volume water sourced: all | ML | 26.79 | 14.829 | 1578.972 | 156.9 | 340 | 63.3 | 59.17 | 225.721 | 4668.679 | 51.371 | 212.286 | 264.164 | 573.827 | [6 empty] | 8236.009
Wastewater | WA16 | Volume sewage collected: residential+non-trade | ML | [13 empty] | MD | MD | MD | MD | MD | MD | MD
Wastewater | WA17 | Volume sewage collected: trade waste | ML | [13 empty] | MD | MD | MD | MD | MD | MD | MD
Wastewater | WA18 | Volume sewage collected: residential+trade | ML | [13 empty] | 671.9 | 67.4 | 1288.6 | 9.2 | 67.5 | 126 | 2230.6
Wastewater | WA68 | Volume sewage collected: sewer mining | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA214 | Volume sewage moved between your own STPs | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA67 | Volume sewage imported | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA167 | Volume sewage collected: all | ML | [13 empty] | 671.9 | 67.4 | 1288.6 | 9.2 | 67.5 | 126 | 2230.6
Wastewater | WA69 | Volume sewage inflow measured at STP inlet | ML | [13 empty] | 671.9 | 67.4 | 1288.6 | 9.2 | 67.5 | 126 | 2230.6
Wastewater | WA19 | Volume sewage collected per connection | kL/connection/year | [13 empty] | 265.1539 | 160.8592 | 223.8319 | 101.0989 | 153.4091 | 227.8481 | 227.7517
Wastewater | WA179 | Wastewater losses: during collection process | ML | [13 empty] | MD | MD | MD | MD | MD | MD | MD
Wastewater | WA180 | Wastewater losses: during treatment process | ML | [13 empty] | MD | MD | MD | 9.2 | MD | MD | 9.2
Wastewater | WA181 | Wastewater losses: after treatment process | ML | [13 empty] | MD | MD | MD | MD | MD | MD | MD
Wastewater | WA217 | Wastewater losses: all | ML | [13 empty] | MD | MD | MD | 9.2 | MD | MD | 9.2
Wastewater | WA66 | Volume sewage exported | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA31 | Volume sewage treated | ML | [13 empty] | 627.112 | 46 | 1197.5 | 9.2 | 60.1 | 113.86 | 2053.772
Wastewater | WA226 | Volume wastewater treated | ML | [13 empty] | 627.112 | 46 | 1197.5 | 9.2 | 60.1 | 113.86 | 2053.772
Wastewater | WA175 | Volume treated sewage disposal: inland surface waters | ML | [13 empty] | 46.013 | 0 | 0 | 0 | 60.1 | 0 | 106.113
Wastewater | WA176 | Volume treated sewage disposal: land | ML | [13 empty] | 581.1 | 46 | 1197.5 | 0 | 0 | 113.9 | 1938.5
Wastewater | WA177 | Volume treated sewage disposal: groundwater | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA178 | Volume treated sewage disposal: sea/estuary | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wastewater | WA215 | Volume treated sewage disposal: all | ML | [13 empty] | 627.113 | 46 | 1197.5 | 0 | 60.1 | 113.9 | 2044.613
Wastewater | WA137 | Volume wastewater collected: sewage+stormwater | ML | [13 empty] | 671.9 | 67.4 | 1288.6 | 9.2 | 67.5 | 126 | 2230.6
Recycled Water (sewage) uses | WA20 | Volume recycled sewage supplied: residential | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA22 | Volume recycled sewage supplied: agricultural (all) | ML | [19 empty] | 1183
Recycled Water (sewage) uses | WA147 | Volume recycled sewage supplied: commercial | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA148 | Volume recycled sewage supplied: industrial | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA149 | Volume recycled sewage supplied: institutional | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA218 | Volume recycled sewage supplied: commercial+industrial+municipal | ML | [19 empty] | 524.6
Recycled Water (sewage) uses | WA141 | Volume recycled sewage supplied: parks and gardens | ML | [19 empty] | 524.6
Recycled Water (sewage) uses | WA143 | Volume recycled sewage supplied: forestry | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA144 | Volume recycled sewage supplied: aquaculture or fishing | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA145 | Volume recycled sewage supplied: mining | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA146 | Volume recycled sewage supplied: electricity generation | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA219 | Volume recycled sewage supplied: own use | ML | [19 empty] | 230.85
Recycled Water (sewage) uses | WA187 | Volume recycled sewage supplied: any other | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA187.1 | Nature/volumes of who you supplied recycled sewage 'other' water to | Text | [19 empty] | Not Relevant
Recycled Water (sewage) uses | WA21 | Volume recycled sewage supplied: non-residential | ML | [19 empty] | 1754.37
Recycled Water (sewage) uses | WA23 | Volume recycled sewage supplied: environmental flows | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA73 | Volume recycled sewage supplied: aquifer recharge | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA26 | Volume recycled sewage supplied: all | ML | [19 empty] | 1938.47
Recycled Water (sewage) uses | WA15 | Volume recycled sewage exported: external | ML | [19 empty] | NR
Recycled Water (sewage) uses | WA27 | Per cent sewage recycled | % | [19 empty] | NR
Stormwater Reuse | WA85 | Volume recycled stormwater supplied: residential | ML | [19 empty] | NR
Stormwater Reuse | WA86 | Volume recycled stormwater supplied: non-residential | ML | [19 empty] | NR
Stormwater Reuse | WA98 | Volume recycled stormwater supplied: all | ML | [19 empty] | NR
Potable water uses | WA225 | Volume potable water produced at a water treatment plant | ML | NR | NR | 1534.5 | NR | 280.8 | 40.5 | 48.1 | 99.9 | 3805 | 40.5 | NR | NR | 515.1 | [6 empty] | 6364.4
Potable water uses | WA74 | Volume potable water produced/supplied into water supply system | ML | 26.79 | 14.829 | 1534.5 | 121.8 | 280.78 | 40.46 | 48.1 | 99.916 | 3804.95 | 40.455 | 210.224 | 264.164 | 515.095 | [6 empty] | 7002.063
Potable water uses | WA32 | Volume potable water supplied: residential | ML | 15.54 | 4.63 | 1022.24 | 80.424 | 118.773 | 13.743 | 32.5373 | 66.09 | 2826.56 | 23.4 | 152.129 | 166.107 | 319.358 | [6 empty] | 4841.5313
Potable water uses | WA34 | Volume potable water supplied: non-residential | ML | 4.96 | 9.27 | 105.76 | 11.88 | 73.03 | 4.56 | 7.46 | 11.51 | 511.74 | 10.8 | 26.77 | 55.69 | 23.84 | [6 empty] | 857.27
Potable water uses | WA36 | Volume potable water supplied: non-revenue | ML | 6.29 | 0.929 | 406.5 | 29.496 | 88.977 | 22.157 | 8.1027 | 22.316 | 466.65 | 6.255 | 31.325 | 42.367 | 171.897 | [6 empty] | 1303.2617
Potable water uses | WA197 | Volume water returned to surface water or groundwater from water supply system | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Raw-Partially Treated water uses | WA91 | Volume raw-PT water supplied: residential | ML | [19 empty] | 16.636
Raw-Partially Treated water uses | WA92 | Volume raw-PT water supplied: non-residential | ML | [19 empty] | 498.24
Total water supply | WA206 | Volume potable+raw-PT water supplied: residential | ML | 15.54 | 4.63 | 1022.24 | 80.424 | 118.773 | 13.743 | 32.5373 | 73.2 | 2836.074 | 23.4 | 152.129 | 166.107 | 319.358 | [6 empty] | 4858.1673
Total water supply | WA8 | Volume all water supplied: residential | ML | 15.54 | 4.63 | 1022.24 | 80.424 | 118.773 | 13.743 | 32.5373 | 73.2 | 2836.074 | 23.4 | 152.129 | 166.107 | 319.358 | [6 empty] | 4858.1673
Total water supply | WA117 | Volume potable+raw-PT water supplied: commercial | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA118 | Volume potable+raw-PT water supplied: industrial | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA119 | Volume potable+raw-PT water supplied: institutional | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA112 | Volume potable+raw-PT water supplied: agriculture | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA111 | Volume potable+raw-PT water supplied: parks and gardens | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA113 | Volume potable+raw-PT water supplied: forestry | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Total water supply | WA114 | Volume potable+raw-PT water supplied: aquaculture or fishing | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Total water supply | WA115 | Volume potable+raw-PT water supplied: mining | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Total water supply | WA116 | Volume potable+raw-PT water supplied: electricity generation | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Total water supply | WA120 | Volume potable+raw-PT water supplied: any other | ML | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Total water supply | WA120.1 | Nature/volumes of who you supplied non-residential 'other' water to | Text | [19 empty] | Not Relevant
Total water supply | WA121 | Volume potable+raw-PT water supplied: non-residential (ABS) | ML | 11.3 | 10.2 | 569.8 | 41.4 | 162.007 | 39.4 | 15.5627 | 54.65 | 1385.65 | 17.055 | 58.095 | 98.057 | 195.737 | [6 empty] | 1342.84
Total water supply | WA207 | Volume potable+raw-PT water supplied: non-residential (NPR) | ML | 11.25 | 10.199 | 569.76 | 41.376 | 162.007 | 39.4 | 15.5627 | 54.65 | 1385.65 | 17.055 | 58.095 | 98.057 | 195.737 | [6 empty] | 2658.7717
Total water supply | WA122 | Volume potable+raw-PT water supplied: all (ABS) | ML | 26.84 | 14.83 | 1592.04 | 121.824 | 280.78 | 53.143 | 48.1 | 127.85 | 4221.724 | 40.455 | 210.224 | 264.164 | 515.095 | [6 empty] | 6201.0073
Total water supply | WA9 | Volume all water supplied: non-residential | ML | 11.25 | 10.199 | 966.66 | 41.376 | 208.01 | 39.4 | 15.5627 | 54.65 | 2583.15 | 17.055 | 58.095 | 98.057 | 309.54 | [6 empty] | 4413.1417
Total water supply | WA152 | Volume recycled water exported and supplied: all | ML | [19 empty] | NR
Total water supply | WA11 | Volume water supplied: all (NPR) | ML | 26.79 | 14.829 | 1988.9 | 121.8 | 326.783 | 53.143 | 48.1 | 127.85 | 5419.224 | 40.455 | 210.224 | 264.164 | 628.898 | [6 empty] | 9271.309
Consumption | WA166 | Volume water used by your organisation: own parks and gardens | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Consumption | WA123 | Volume water used by your organisation: any other uses | ML | 0.13 | 0.08 | 7.67 | 0.61 | 1.4 | 0.2 | 0.24 | 0.51 | 19.03 | 0.2 | 1.04 | 1.32 | 2.57 | [6 empty] | 35
Consumption | WA124 | Volume water used by your organisation | ML | 0.13 | 0.08 | 7.67 | 0.61 | 1.4 | 0.2 | 0.24 | 0.51 | 19.03 | 0.2 | 1.04 | 1.32 | 2.57 | [6 empty] | 35
Consumption | WA201 | Maximum daily demand | ML/day | 0.141 | 0.155 | 7.804 | 0.64 | 1.569 | 0.7 | 0.244 | 0.624 | 21.55 | 0.372 | 0.955 | 1.638 | 2.391 | [6 empty] | 38.783
Consumption | WA12 | Annual residential water supplied per connection | kL/connection/year | 263.3898 | 463 | 420.1562 | 394.2353 | 250.5759 | 381.75 | 433.8307 | 413.5593 | 455.521 | 365.625 | 277.6077 | 386.2953 | 568.2527 | [6 empty] | 430.0024
Exports | WA110 | Volume potable+raw-PT water exported: external | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Exports | WA110.1 | Names/volumes of who you exported potable+raw-PT water to | Text | [19 empty] | Not Relevant
Exports | WA46 | Volume water exported: external | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Exports | WA224 | Volume all water exported: internal and external | ML | 0 | 0 | 156.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.3 | [6 empty] | 168.2
Env Flows | WA13 | Volume raw (untreated) water supplied: environmental flows | ML | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Water Treatment and Supply Assets | AS2 | Length water mains | km | 7.858 | 0.99 | 70.474 | 19.524 | 61.334 | 4.476 | 3.92 | 4.766 | 156.04 | 7.727 | 33.061 | 25.735 | 20.245 | [6 empty] | 416.15
Water Treatment and Supply Assets | AS3 | Connections served per km water main | Connections/km | 8.3991 | 15.1515 | 37.9289 | 12.395 | 9.5705 | 10.7239 | 23.7245 | 45.1112 | 45.1166 | 12.6828 | 17.8156 | 20.9442 | 31.4152 | [6 empty] | 30.8567
Water Treatment and Supply Assets | AS54 | Length potable water mains only | km | 7.858 | 0.99 | 70.474 | 19.524 | 61.334 | 4.476 | 3.92 | 4.766 | 156.04 | 7.727 | 33.061 | 25.735 | 20.245 | [6 empty] | 416.15
Water Treatment and Supply Assets | AS49 | Service connections per km water main | Service connections/km | 8.145 | 15.152 | 35.502 | 11.063 | 8.935 | 10.5 | 22.194 | 40.705 | 42.021 | 11.13 | 17.453 | 19.934 | 29.39 | [6 empty] | 28.838
Water Treatment and Supply Assets | AS1 | Number water treatment plants: providing full treatment | Count | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 2 | 1 | 0 | 0 | 1 | [6 empty] | 9
Water Treatment and Supply Assets | AS47 | Capacity of water treatment plants | ML/day | NR | NR | 15 | NR | 0.9 | 0.3 | 0.4 | 0.7 | 38 | 0.3 | NR | NR | 3.6 | [6 empty] | 59.2
Water Treatment and Supply Assets | AS48 | Total potable water storage volume | ML | 0.45 | 0.2 | 18 | 1 | 1.9 | 0.5 | 0.3 | 0.3 | 20 | 0.3 | 0.9 | 2.3 | 10.3 | [6 empty] | 56.45
Sewerage Assets | AS4 | Number sewage treatment plants | Count | [13 empty] | 1 | 1 | 2 | 1 | 1 | 1 | 7
Sewerage Assets | AS5 | Length sewerage mains and channels | km | [13 empty] | 66.7854 | 13.1201 | 144.768 | 4.802 | 15.1347 | 16.9131 | 261.5233
Sewerage Assets | AS6 | Connections served per km sewer main | Connections/km | [13 empty] | 37.9424 | 31.9357 | 39.7671 | 18.9504 | 29.0722 | 32.6965 | 37.4498
Asset Performance - Water | AS14 | Number of water main breaks, bursts and leaks | Count | 0 | 0 | 46 | 3 | 7 | 2 | 0 | 4 | 43 | 0 | 9 | 15 | 12 | [6 empty] | 141
Asset Performance - Water | AS8 | Water main breaks per 100 km water main | per 100 km water main | 0 | 0 | 65.2723 | 15.3657 | 11.4129 | 44.6828 | 0 | 83.9278 | 27.557 | 0 | 27.2224 | 58.2864 | 59.2739 | [6 empty] | 33.882
Asset Performance - Water | AS9 | Infrastructure Leakage Index (ILI) | Index | 8.09 | 4.76 | 12.52 | 7.03 | 7.4 | 49.66 | 13.71 | 22.8 | 5.12 | 3.51 | 3.42 | 7.59 | 26.35 | [6 empty] | 5.12
Asset Performance - Water | AS44 | Total apparent losses: potable+non-potable | ML | 0.44 | 0.29 | 24.09 | 1.97 | 4.12 | 0.41 | 0.85 | 1.65 | 70.57 | 0.72 | 3.79 | 4.7 | 7.38 | [6 empty] | 120.98
Asset Performance - Water | AS55 | Total apparent losses: potable water | ML | 0.44 | 0.29 | 24.09 | 1.97 | 4.12 | 0.41 | 0.85 | 1.65 | 70.57 | 0.72 | 3.79 | 4.7 | 7.38 | [6 empty] | 120.98
Asset Performance - Water | AS32 | Current Annual Real Losses (CARL): potable+non-potable | ML | 5.73 | 0.52 | 374.75 | 26.96 | 83.46 | 21.56 | 7.01 | 20.16 | 377.05 | 5.33 | 26.49 | 36.38 | 161.94 | [6 empty] | 1147.34
Asset Performance - Water | AS52 | Current Annual Real Losses (CARL): potable water | ML | 5.73 | 0.52 | 374.75 | 26.96 | 83.46 | 21.56 | 7.01 | 20.16 | 377.05 | 5.33 | 26.49 | 36.38 | 161.94 | [6 empty] | 1147.34
Asset Performance - Water | AS46 | Volume water lost: potable+non-potable | ML | 6.17 | 0.81 | 398.84 | 28.93 | 87.58 | 21.97 | 7.86 | 21.81 | 447.62 | 6.05 | 30.28 | 41.08 | 169.32 | [6 empty] | 1268.32
Asset Performance - Water | AS56 | Volume water lost: potable water | ML | 6.17 | 0.81 | 398.84 | 28.93 | 87.58 | 21.97 | 7.86 | 21.81 | 447.62 | 6.05 | 30.28 | 41.08 | 169.32 | [6 empty] | 1268.32
Asset Performance - Water | AS10 | Real water losses: service connections | L/service connection/day | 245.2911 | 94.9772 | 410.3566 | 341.9584 | 417.2583 | 1256.7765 | 220.7526 | 284.7056 | 157.5436 | 169.7993 | 125.7805 | 194.2909 | 745.6659 | [6 empty] | 261.9279
Asset Performance - Water | AS11 | Real water losses: water mains | kL/km water main/day | 1.9978 | 1.439 | 14.5687 | 3.7832 | 3.7281 | 13.1967 | 4.8994 | 11.5889 | 6.6202 | 1.8898 | 2.1952 | 3.873 | 21.9151 | [6 empty] | 7.5535
Asset Performance - Sewerage | AS38 | Number sewerage mains breaks/chokes | Count | [13 empty] | 38 | 1 | 21 | 1 | 2 | 4 | 67
Asset Performance - Sewerage | AS39 | Sewerage mains breaks/chokes per 100 km sewer main | per 100 km sewer mains | [13 empty] | 56.8987 | 7.6219 | 14.506 | 20.8247 | 13.2146 | 23.6503 | 25.6191
Asset Performance - Sewerage | AS40 | Number property connection sewer breaks/chokes | Count | [13 empty] | 42 | 2 | 31 | 1 | 3 | 5 | 84
Asset Performance - Sewerage | AS41 | Property connection sewer breaks/chokes per 1000 connections | per 1000 connections | [13 empty] | 16.5746 | 4.7733 | 5.3847 | 10.989 | 6.8182 | 9.0416 | 8.5767
Customer Service - sewerage | CS21 | Number sewerage complaints: service | Count | [13 empty] | 14 | 0 | 14 | 0 | 1 | 0 | 29
Customer Service - sewerage | CS11 | Sewerage service complaints per 1000 connections | per 1000 connections | [13 empty] | 5.5249 | 0 | 2.4318 | 0 | 2.2727 | 0 | 2.961
Customer Service - sewerage | CS65 | Percent CSS response target met: sewerage incidents | % | [13 empty] | MD | MD | MD | MD | MD | MD | MD
Customer Service - water | CS20 | Number water complaints: water quality | Count | 0 | 1 | 1 | 0 | 0 | 4 | 1 | 0 | 13 | 0 | 2 | 1 | 2 | [6 empty] | 25
Customer Service - water | CS9 | Water quality complaints per 1000 connections | per 1000 connections | 0 | 66.6667 | 0.37411 | 0 | 0 | 83.3333 | 10.7527 | 0 | 1.8466 | 0 | 3.3956 | 1.8553 | 3.1447 | [6 empty] | 1.9469
Customer Service - water | CS22 | Number water complaints: service | Count | 2 | 0 | 91 | 6 | 16 | 4 | 4 | 12 | 97 | 3 | 17 | 20 | 16 | [6 empty] | 288
Customer Service - water | CS10 | Water service complaints per 1000 connections | per 1000 connections | 30.303 | 0 | 34.0441 | 24.7934 | 27.2572 | 83.3333 | 43.0108 | 55.814 | 13.7784 | 30.6122 | 28.8625 | 37.1058 | 25.1572 | [6 empty] | 22.4282
Customer Service - water | CS61 | Number connections affected by unplanned interruptions | Count | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Customer Service - water | CS15 | Average duration unplanned interruptions: water | mins | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | [6 empty] | 30
Customer Service - water | CS17 | Average frequency unplanned interruptions: water | per 1000 connections | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Customer Service - water | CS66 | Percent CSS response target met: water incidents | % | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | MD | [6 empty] | MD
Customer Service - water | CS48 | Number restrictions applied for non-payment of water bill | Count | [19 empty] | 0
Customer Service - water | CS18 | Restrictions applied for non-payment of water bill per 1000 connections | per 1000 connections | [19 empty] | 0
Customer Service - water | CS49 | Number customers which legal action applied for non-payment of water bill | Count | [19 empty] | 155
Customer Service - water | CS19 | Customers which legal action applied for non-payment of water bill per 1000 connections | per 1000 connections | [19 empty] | 12.0707
Customer Service - overall | CS23 | Number water and sewerage complaints: billing and accounts | Count | 0 | 0 | 5 | 1 | 1 | 0 | 0 | 0 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16
Customer Service - overall | CS12 | Water and sewerage billing and account complaints per 1000 connections | per 1000 connections | 0 | 0 | 1.8706 | 4.1322 | 1.7036 | 0 | 0 | 0 | 1.1364 | 0 | 1.6978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.246
Customer Service - overall | CS24 | Number water and sewerage complaints: all other | Count | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
Customer Service - overall | CS62 | Number water and sewerage complaints: all | Count | 2 | 1 | 100 | 7 | 17 | 8 | 5 | 12 | 124 | 3 | 20 | 21 | 18 | 14 | 0 | 14 | 0 | 1 | 0 | 367
Customer Service - overall | CS13 | Water and sewerage complaints (all) per 1000 connections | per 1000 connections | 30.303 | 66.6667 | 37.4111 | 28.9256 | 28.9608 | 166.6667 | 53.7634 | 55.814 | 17.6136 | 30.6122 | 33.9559 | 38.961 | 28.3019 | 5.5249 | 0 | 2.4318 | 0 | 2.2727 | 0 | 28.5803
Customer Service - overall | CS14 | Per cent calls answered within 30 seconds | % | [19 empty] | MD
Compliance & Treatment - Sewerage | EN18 | Volume sewage treated: maximum primary level only | ML | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Compliance & Treatment - Sewerage | EN1 | Per cent sewage treated: maximum primary level only | % | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Compliance & Treatment - Sewerage | EN19 | Volume sewage treated: maximum secondary level only | ML | [13 empty] | 0 | 46 | 1197.5 | 9.2 | 60.1 | 113.9 | 1426.7
Compliance & Treatment - Sewerage | EN2 | Per cent sewage treated: maximum secondary level only | % | [13 empty] | 0 | 100 | 100 | 100 | 100 | 100.0351 | 69.4673
Compliance & Treatment - Sewerage | EN20 | Volume sewage treated: tertiary level | ML | [13 empty] | 627.1 | 0 | 0 | 0 | 0 | 0 | 627.1
Compliance & Treatment - Sewerage | EN3 | Per cent sewage treated: tertiary level | % | [13 empty] | 99.9981 | 0 | 0 | 0 | 0 | 0 | 30.5341
Compliance - Drinking Water | HL1 | Water quality compliance guidelines used | Text | [19 empty] | Australian Drinking Water Guidelines 2011
Compliance - Drinking Water | HL3 | Per cent population where microbiological compliance achieved | % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | [6 empty] | 100
Compliance - Drinking Water | HL8 | Number zones chemical compliance achieved | Count | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 2 | 1 | 2 | 2 | 0 | [6 empty] | 14
Compliance - Drinking Water | HL9 | Number chemical compliance zones tested | Count | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 1 | [6 empty] | 16
Compliance - Drinking Water | HL5 | Risk based drinking water management plan assessed externally | yes/no | [19 empty] | yes
Biosolids | EN8 | Per cent biosolids reused | % | [13 empty] | 0 | 0 | 50 | 0 | 0 | 0 | 50
Greenhouse Gas Emissions | EN14 | Greenhouse gas emissions: water | t CO2eq | [19 empty] | 2689
Greenhouse Gas Emissions | EN9 | Greenhouse gas emissions: water per 1000 connections | t CO2eq/1000 connections | [19 empty] | 209.4074
Greenhouse Gas Emissions | EN15 | Greenhouse gas emissions: sewage | t CO2eq | [19 empty] | 1052
Greenhouse Gas Emissions | EN10 | Greenhouse gas emissions: sewage per 1000 connections | t CO2eq/1000 connections | [19 empty] | 107.4127
Greenhouse Gas Emissions | EN16 | Greenhouse gas emissions: other | t CO2eq | [19 empty] | MD
Greenhouse Gas Emissions | EN11 | Greenhouse gas emissions: other per 1000 water connections | t CO2eq/1000 connections | [19 empty] | MD
Greenhouse Gas Emissions | EN17 | Greenhouse gas emissions: all | t CO2eq | [19 empty] | 3741
Greenhouse Gas Emissions | EN12 | Greenhouse gas emissions: all per 1000 water connections | t CO2eq/1000 connections | [19 empty] | 291.3325
Revenue | FN37 | Revenue: sale bulk potable+raw-PT water | $,000 | [19 empty] | 0
Revenue | FN38 | Revenue: sale bulk recycled water | $,000 | [19 empty] | 0
Revenue | FN58 | Revenue: sale all bulk water | $,000 | [19 empty] | 0
Revenue | FN39 | Revenue: sale potable+raw-PT water (retail supply) | $,000 | [19 empty] | 18203.032
Revenue | FN40 | Revenue: sale recycled sewage water (retail supply) | $,000 | [19 empty] | 0
Revenue | FN59 | Revenue: sale potable+raw-PT+recycled water (retail supply) | $,000 | [19 empty] | 18203.032
Revenue | FN60 | Government grants/subsidies (non-capital purposes): water | $,000 | [19 empty] | 13.33
Revenue | FN61 | Revenue: any other water supply | $,000 | [19 empty] | 592.191
Revenue | FN42 | Revenue: all (ABS) water | $,000 | [19 empty] | 18808.553
Revenue | FN62 | Revenue: residential and non-residential sewerage | $,000 | [19 empty] | 8361.989
Revenue | FN63 | Revenue: trade waste sewerage | $,000 | [19 empty] | 0
Revenue | FN64 | Government grants/subsidies (non-capital purposes): sewerage | $,000 | [19 empty] | 0
Revenue | FN65 | Revenue: any other sewerage | $,000 | [19 empty] | 298.849
Revenue | FN66 | Revenue: all (ABS) sewerage | $,000 | [19 empty] | 8660.838
Revenue | FN67 | Revenue: stormwater charges | $,000 | [19 empty] | 0
Revenue | FN68 | Government grants/subsidies (non-capital purposes): stormwater | $,000 | [19 empty] | 0
Revenue | FN69 | Revenue: other stormwater | $,000 | [19 empty] | 0
Revenue | FN70 | Revenue: all stormwater | $,000 | [19 empty] | 0
Revenue | FN1 | Revenue: all (NPR) water | $,000 | [19 empty] | 18808.553
Revenue | FN2 | Revenue: all (NPR) sewerage | $,000 | [19 empty] | 8660.838
Revenue | FN3 | Revenue: whole of utility | $,000 | [19 empty] | 27469.391
Revenue | FN7 | Revenue: whole of utility per connection | $/connection | [19 empty] | 2139.1941
Revenue | FN4 | Revenue: per cent residential revenue from water usage charges | % | [19 empty] | 57.8
Revenue | FN5 | Revenue: water supply per connection | $/connection | [19 empty] | 1464.7265
Revenue | FN6 | Revenue: sewerage services per connection | $/connection | [19 empty] | 884.3004
Revenue | FN25 | Community service obligations | $,000 | [19 empty] | 0
Revenue | FN87 | Community service obligations ratio | ratio | [19 empty] | 0
Costs | FN9 | Nominal written down replacement cost: fixed water assets | $,000 | [19 empty] | 186266.2
Costs | FN10 | Nominal written down replacement cost: fixed sewerage assets | $,000 | [19 empty] | 148470.84
Costs | FN74 | Current replacement costs: fixed water assets | $,000 | [19 empty] | 307249.42
Costs | FN75 | Current replacement costs: fixed sewerage assets | $,000 | [19 empty] | 235578.27
Costs | FN44 | Costs: purchase bulk potable+raw-PT water | $,000 | [19 empty] | 1113.901
Costs | FN45 | Costs: purchase bulk recycled water | $,000 | [19 empty] | 0
Costs | FN46 | Costs: purchase of all bulk water | $,000 | [19 empty] | 1113.901
Costs | FN32 | Costs: operating water (NPR) | $,000 | [19 empty] | 6709.206
Costs | FN11 | Costs: operating water per connection | $/connection | [19 empty] | 522.4831
Costs | FN76 | Costs: maintenance water | $,000 | [19 empty] | 1475.427
Costs | FN47 | Costs: operating water (ABS) | $,000 | [19 empty] | 5595.305
Costs | FN49 | Costs: any other water | $,000 | [19 empty] | 5644.382
Costs | FN33 | Costs: operating sewerage | $,000 | [19 empty] | 2683.218
Costs | FN12 | Costs: operating sewerage per connection | $/connection | [19 empty] | 273.9655
Costs | FN77 | Costs: maintenance sewerage | $,000 | [19 empty] | 455.44
Costs | FN50 | Costs: any other sewerage | $,000 | [19 empty] | 4419.103
Costs | FN13 | Costs: operating water+sewerage per connection | $/connection | [19 empty] | 731.4402
Costs | FN48 | Costs: operating stormwater | $,000 | [19 empty] | 115.21
Costs | FN90 | Costs: operating any other (all services) | $,000 | [19 empty] | 0
Costs | FN91 | Costs: operating (all services) | $,000 | [19 empty] | 8393.733
Costs | FN92 | Expenditure: all services | $,000 | [19 empty] | 9507.634
Costs | FN78 | Current cost depreciation: water | $,000 | [19 empty] | 4869.382
Costs | FN79 | Current cost depreciation: sewerage | $,000 | [19 empty] | 4128.139
Costs | FN80 | Previous 5 year average annual renewals expenditure: water | $,000 | [19 empty] | 1260.697
Costs | FN81 | Previous 5 year average annual renewals expenditure: sewerage | $,000 | [19 empty] | 2839.977
Costs | FN82 | Forecast 5 year average annual renewals expenditure: water | $,000 | [19 empty] | 9423.39
Costs | FN83 | Forecast 5 year average annual renewals expenditure: sewerage | $,000 | [19 empty] | 2642.733
Capital Expenditure | FN14 | Capital expenditure: water supply | $,000 | [19 empty] | 2799.149
Capital Expenditure | FN15 | Capital expenditure: sewerage | $,000 | [19 empty] | 1403.093
Capital Expenditure | FN51 | Capital expenditure: stormwater | $,000 | [19 empty] | 415.75
Capital Expenditure | FN52 | Capital expenditure: any other | $,000 | [19 empty] | MD
Capital Expenditure | FN53 | Capital expenditure: total | $,000 | [19 empty] | 4617.992
Capital Expenditure | FN93 | Capital expenditure: what was the largest item | Text | [19 empty] | MD
Capital Expenditure | FN94 | Capital expenditure: amount spent on largest item | $,000 | [19 empty] | MD
Capital Expenditure | FN95 | Capital expenditure: what was the 2nd largest item | Text | [19 empty] | MD
Capital Expenditure | FN96 | Capital expenditure: amount spent on 2nd largest item | $,000 | [19 empty] | MD
Capital Expenditure | FN26 | Capital works grants: water | $,000 | [19 empty] | 327.016
Capital Expenditure | FN27 | Capital works grants: sewerage | $,000 | [19 empty] | 750.987
Capital Expenditure | FN16 | Capital expenditure: water+sewerage | $,000 | [19 empty] | 4202.242
Capital Expenditure | FN34 | Capital expenditure: water per connection | $/connection | [19 empty] | 217.9853
Capital Expenditure | FN35 | Capital expenditure: sewerage per connection | $/connection | [19 empty] | 143.2605
Financial | FN17 | Economic real rate of return: water | % | [19 empty] | 3.8815
Financial | FN18 | Economic real rate of return: sewerage | % | [19 empty] | 1.2457
Financial | FN19 | Economic real rate of return: water+sewerage | % | [19 empty] | 2.7124
Financial | FN20 | Dividend | $,000 | [19 empty] | 0
Financial | FN24 | Net profit after tax (NPAT) | $,000 | [19 empty] | 1832
Financial | FN88 | Dividend payout ratio | Ratio | [19 empty] | 0
Financial | FN22 | Net debt to equity | % | [19 empty] | -5.527
Financial | FN23 | Interest cover ratio | Ratio | [19 empty] | 2.719
Financial | FN89 | Net profit after tax ratio | Ratio | [19 empty] | 0.066692
Water Pricing | PR1 | Water pricing tariff structure | Text | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | 2 Tier tariff | [6 empty] | 2 Tier tariff
Water Pricing | PR3 | Fixed charge: water value | $/annum | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | 576 | [6 empty] | 576
Water Pricing | PR5 | Fixed charge: water description | Text | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | per chargeable meter unit | [6 empty] | per chargeable meter unit
Water Pricing | PR6 | Usage charge 1st Step: value | $/kL | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | [6 empty] | 1.41
Water Pricing | PR49 | Usage upper bound of 1st Step: kL | kL | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | [6 empty] | 180
Water Pricing | PR8 | Usage charge 2nd Step: value | $/kL | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | 2.28 | [6 empty] | 2.28
Water Pricing | PR50 | Usage upper bound of 2nd Step: kL | kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR10 | Usage charge 3rd Step: value | $/kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR51 | Usage upper bound of 3rd Step: kL | kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR12 | Usage charge 4th Step: value | $/kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR52 | Usage upper bound of 4th Step: kL | kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR14 | Usage charge 5th Step: value | $/kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR53 | Usage upper bound of 5th Step: kL | kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR16 | Usage charge 6th Step: value | $/kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR54 | Usage upper bound of 6th Step: kL | kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR23 | Special levies: water value | $/kL | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR25 | Revenue from water special levies retained by utility | yes/no | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | NR
Water Pricing | PR43 | Annual bill based on 200kL/a: water | $ | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | 875.4 | [6 empty] | 875.4
Water Pricing | PR44 | Typical residential bill: water | $ | 947.39 | 1318.44 | 1220.86 | 1161.58 | 929.35 | 1133.3 | 1251.86 | 1114.15 | 1297.92 | 1096.37 | 967.42 | 1143.56 | 1558.52 | [6 empty] | 1297.92
Sewerage Pricing | PR4 | Sewerage pricing tariff structure | Text | [13 empty] | Only fixed charge | Only fixed charge | Only fixed charge | Only fixed charge | Only fixed charge | Only fixed charge | Only fixed charge
Sewerage Pricing | PR31 | Fixed charge: sewerage value | $/annum | [13 empty] | 673 | 673 | 673 | 673 | 673 | 673 | 673
Sewerage Pricing | PR40 | Fixed charge: sewerage description | Text | [13 empty] | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal | Residential Charge & Non-Residential First Pedestal
Sewerage Pricing | PR32 | Usage charge: sewerage value | $/kL | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sewerage Pricing | PR33 | Special levies: sewerage value | $ | [13 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sewerage Pricing | PR34 | Revenue from sewerage special levies retained by utility | yes/no | [13 empty] | NR | NR | NR | NR | NR | NR | NR
Sewerage Pricing | PR45 | Annual bill based on 200kL/a: sewerage | $ | [13 empty] | 673 | 673 | 673 | 673 | 673 | 673 | 673
Sewerage Pricing | PR46 | Typical residential bill: sewerage | $ | [13 empty] | 673 | 673 | 673 | 673 | 673 | 673 | 673
Pricing | PR47 | Annual bill based on 200kL/a: water+sewerage | $ | [19 empty] | 1548.4
Pricing | PR48 | Typical residential bill: water+sewerage | $ | [19 empty] | 1970.92
Workforce | WF1 | Total full-time equivalent water+sewerage employees | FTEs | [19 empty] | 51.5
Water Security | WS3 | Available contingency supplies | yes/no | no | no | no | no | no | no | no | no | no | no | no | no | no | [6 empty] | no
Water Security | WS11 | Water restriction duration: PWCM | days | 366 | 366 | 0 | 0 | 290 | 321 | 366 | 321 | 0 | 366 | 366 | 366 | 366 | [6 empty] | 366
Water Security | WS12 | Water restriction duration: Level 1 | days | 0 | 0 | 321 | 321 | 76 | 0 | 0 | 0 | 321 | 0 | 0 | 0 | 0 | [6 empty] | 321
Water Security | WS13 | Water restriction duration: Level 2 | days | 0 | 0 | 45 | 45 | 0 | 45 | 0 | 45 | 45 | 0 | 0 | 0 | 0 | [6 empty] | 45
Water Security | WS14 | Water restriction duration: Level 3 | days | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Water Security | WS15 | Water restriction duration: Level 4 | days | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Water Security | WS16 | Water restriction duration: Level 5 | days | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
Water Security | WS11.1 | Water restriction description: PWCM | text | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days. | [6 empty] | Odd/even numbered houses allocated days. Sprinklers on restricted hours on allocated days.
Water Security | WS12.1 | Water restriction description: Level 1 | text | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time. | [6 empty] | Sprinklers, micro spray and drip systems restricted hours. Hand held hoses, watering cans or buckets any time.
Water Security | WS13.1 | Water restriction description: Level 2 | text | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time. | [6 empty] | Sprinklers, micro spray and drip systems more restricted hours. Hand held hoses, watering cans or buckets any time.
Water Security | WS14.1 | Water restriction description: Level 3 | text | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time. | [6 empty] | No sprinklers. Micro spray and drip systems on gardens restricted hours. Hand held hoses, watering cans or buckets any time.
Water Security | WS15.1 | Water restriction description: Level 4 | text | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | Watering cans/buckets only during restricted hours. Lawn areas must not be watered. | [6 empty] | Watering cans/buckets only during restricted hours. Lawn areas must not be watered.
Water Security | WS16.1 | Water restriction description: Level 5 | text | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | Not Relevant | [6 empty] | Not Relevant
Water Security | WS11.2 | Water restriction target: PWCM | L/p/d | 459 | 925 | 608 | 608 | 517 | 436 | 507 | 548 | 639 | 297 | 245 | 380 | 731 | [6 empty] | NR
Water Security | WS12.2 | Water restriction target: Level 1 | L/p/d | 454 | 913 | 600 | 600 | 400 | 431 | 501 | 541 | 631 | 250 | 242 | 320 | 722 | [6 empty] | 925
Water Security | WS13.2 | Water restriction target: Level 2 | L/p/d | 363 | 731 | 480 | 480 | 250 | 345 | 401 | 433 | 505 | 200 | 193 | 256 | 578 | [6 empty] | 913
Water Security | WS14.2 | Water restriction target: Level 3 | L/p/d | 289 | 582 | 383 | 383 | 200 | 275 | 319 | 345 | 402 | 159 | 154 | 204 | 460 | [6 empty] | 731
Water Security | WS15.2 | Water restriction target: Level 4 | L/p/d | 232 | 468 | 308 | 308 | 120 | 221 | 257 | 277 | 323 | 128 | 124 | 164 | 370 | [6 empty] | 582
Water Security | WS16.2 | Water restriction target: Level 5 | L/p/d | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | [6 empty] | 468
Water Security | WS25 | Water restriction current level | text | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | [6 empty] | 2
Water Security | WS17 | Has asset management planning been undertaken in the last 10 yrs? | yes/no | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | [6 empty] | yes
Water Security | WS18 | Has drought management planning been undertaken in the last 10 yrs? | yes/no | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | [6 empty] | yes
Water Security | WS19 | Has water demand forecasts been developed or reviewed in the last 5 yrs? | yes/no | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | yes | [6 empty] | yes
Water Security | WS20 | Has assessment of key capacity constraints of water infrastructure been undertaken in last 10 yrs? | yes/no | no | no | no | no | no | no | no | no | no | no | no | no | no | [6 empty] | no
Water Security | WS21 | Has the timing for potential future supply augmentation been assessed in the last 10 yrs? | yes/no | no | no | yes | yes | yes | yes | no | no | yes | no | no | no | yes | [6 empty] | yes
Water Security | WS22 | Months water supply remaining as at 30 June (KPI level) | 1,2,3,4,5,6 | 5 | 5 | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 3 | 5 | 5 | 3 | [6 empty] | 3
Water Security | WS23 | Confidence water demand will be met: next 18 mths | high,fair,unsure,low,very low | high | high | unsure | unsure | unsure | unsure | fair | fair | unsure | unsure | high | high | unsure | [6 empty] | unsure
Water Security | WS24 | Confidence water demand will be met: next 5 yrs | high,fair,unsure,low,very low | high | high | unsure | unsure | low | unsure | unsure | unsure | unsure | unsure | high | high | unsure | [6 empty] | low
QA/QC Checks | QA1 | Vol water sourced is => vol water produced/supplied | % | 0 | 0 | 2.8165 | 22.3709 | 17.4176 | 36.0822 | 18.7088 | 55.7347 | 18.5005 | 21.2493 | 0.9713 | 0 | 10.2351 | [6 empty] | NR
QA/QC Checks | QA2 | OPEX > Maintenance: Water | [20 empty] | 5233.779
QA/QC Checks | QA3 | OPEX > Maintenance: Sewerage | [20 empty] | 2227.778
QA/QC Checks | QA4 | Asset Replacement Costs > Depreciation: Water | [20 empty] | 181396.818
QA/QC Checks | QA5 | Asset Replacement Costs > Depreciation: Sewerage | [20 empty] | 144342.701
QA/QC Checks | QA6 | Potable non-revenue water > potable water loss |  | 0.12 | 0.119 | 7.66 | 0.566 | 1.397 | 0.187 | 0.2427 | 0.506 | 19.03 | 0.205 | 1.045 | 1.287 | 2.577 | [6 empty] | 34.9417